**1” X 120” Roll**

 

Ready Wrap

Self-Bonding Repair Wrap

 

 **Insulates up to 400 volts/mil**

 **Temperature safe to 500⁰F**

 **Tensile Strength to 700 PSI**

 **Creates an Air & Water Tight Seal**

**Directions for Use on Back**

**of Package**

Product Codes: **L-275 Black L-276 Purple L-277 Green L-278 Blue L-279 Brown**

**Warning:**

**Keep Out Of Reach of Children**

[www.encoreindustrial.com](http://www.encoreindustrial.com)

281-944-4777 • 1-877-703-3044

**Encore Industrial Products, LLC**

**3502 Bacor Rd.**

**Houston, TX 77084**